DYNAMIC LOCAL PHASE CONCENTRATION MEASUREMENTS IN EMULSIONS, DISPERSIONS AND SLURRIES

Xiaohui Zhang and John M. Shaw

Department of Chemical and Materials Engineering, University of Alberta, 

Edmonton, Alberta, Canada

A new x-ray transmission video based method for measuring local concentrations of one phase dispersed or emulsified in another, on-line and without sampling, is described using illustrative examples.  The method involved passing polychromatic x-ray beams through a multiphase fluid/slurry contained in an x-ray transparent or translucent vessel.  The leading dimensions for the unit cell for local concentration measurements are the cross sectional area of a single pixel (magnification dependent) and the length of the path followed by the x-ray beam through the vessel (vessel dependent).  Measurement frequency is dictated by the data acquisition system or the video format employed – typically thirty measurements per second.  X-ray radiography is sensitive to small density differences.  For example, the water content in a water-in-oil emulsion/dispersion is readily measured to within 5000 ppm and nano scale silica particle concentrations in water are readily measured to within 400 ppm.  The vessel may be comprised of glass, aluminum, beryllium, etc.  Potential applications for the technique include both batch and continuous processes drawn from diverse application areas such as the food industry, environmental and phase separation sciences, as well as in the energy sector.

